## Meeting Notes
Date: | Meeting Notes: | Actions:
2015-12-10 | Meeting with Dr. James and Dr. Andrysek 1. Assessment of Current EES and its limitations - publishable a. Qualitative - Survery/Questionaire i. Surgeon’s opinion ii. Survey other endoscopic surgeons b. Systematic assessment - Process Sutdy i. Time / flow analysis in OR - what are rate limiting steps in tympanoplasty? - how does instrument selection contribute to this? | - Literature review of current instruments for EES - IWGEES - Questionaire for surgeons to ask about the limitations of EES - Register for course on Endoscopic Ear Surgery - http://www.torontocourse.iwgees.org/ - Book time in the OR with Dr. Andrysek to observe surgeries and conduct a process study - what is a Process Study?? - funding - OGS - apply for IBBME MASC
2. Review of current instruments a. Features that are good for endoscopic surgery b. Limitations of current instruments
3. Design & preparation of novel instruments a. Multi-purpose hand tools i. Suction ii. Electrocautery - by adding enamel tip coating iii. Cutting iv. Dissection - by adjusting tip shape to aid in dissection v. Graft manipulation b. Other i. Improved foot control of suction ii. Better 532nm filter glasses for laser iii. ? mirrors to use with endoscope iv. Angulation of KTP laser fibre v. ?!
4. Testing of novel instruments a. Models i. Virtual temporal bone construct from CT scan ii. 3D prints of different patients iii. cadaveric temporal bone lab b. Clinical i. SickKids ii. ? TGH iii. ? Vancouver, US, worldwide
5. Translation to surgical practice a. ? patent for IP b. industrial partnership

## Design
Research Question | How to reduce time spent in the OR for EES? First, figure out why by conducting process study and asking the field about limitations. |  |  | to be discussed with Dr. James
Design Objectives | Make surgery easier for surgeons. Design tools to facilitate one-handed surgery.
Design Criteria | Size, grip, accessibility, ease of use, manufacturability, cost, geometry, functionality, sterilizability
- for research: look at medical device conference papers and surgical tool manuals by companies (eg. Karl Storz catalogue, ASME conference proceedings, instrumentarium company)
needs assessment -> anatomy, forces required, max forces, workspace analysis - surface area, volume, how many degrees of freedom/range of motion ->
- what do you really need each degree of freedom for? Ensure you have the optimal number of degrees of freedom |  | Goal: | Criteria: | Description: | Plan/Ideas | Actions
|  | Make a platform to integrate 3D model of ear (by using CT scans) and instruments to test instrument functionality | Size | Ensure that the instrument fits inside ear canal along with endocscope | -Using current CT scans of 100s of patients, make 3D computer models of the ear - Want to make 3D printed models too, to physically test instruments | - print some anatomy at the lab to practice
|  |  | Endoscope | Include endoscope: 30 deg, 45 deg | - Dr. James to note which ears are difficult to access and make models of those to test instrument accessibility/functionality - make note during observing surgeries
|  |  | Manipulation | Ear canal position stays fixed, instrument and endoscope are able to move | - determine which types of ear models to print based on needs analysis
|  |  | Collision Visualization | If instrument touches the ear canal, that region gets highlighted
|  | Teaching workshop in October 18-19 prep |  | - goal: learning | - show up: lecture on anatomy and the surgery/procedure - live surgical demonstration - role of endoscopes for diff't surgeries 19th: MS skills room - surgeons will be trying the surgeries, and I can walk around and what can be improved upon - how do we use this to further research - get informal feedback -send the surgeons a note that we will be sending a questionaire later | - ear trimmers
|  | research - viewing surgeries |  | - see Dr. Papsin and Dr. Cushing's surgeries as well - can see what the different stages of experience are - course and surgeries will give an idea of the challenges - goal: characterize the inefficiencies and time each step of the surgery and see how we can move things faster | - time flow analysis - see if instruments are used together and if we can combine functionalities, is there too much changing of instruments? - after you have new instruments, redo the time flow analysis to see if we have improved | - remind Dr. James to share his surgery calendar when I get my badge/login - look up what to include in a time flow analysis - note which ears are hard to gain access of instruments
|  | General Instrument Design for One-Handed Endoscopic Ear Surgery |  |  | use notched tubes to increase articulation/accessibility of working end
|  |  | Size | fits in ear canal with endoscope | - use a trocar that can stabilize the tool so you can use the wrist to articulate instead of thumb '-> thumb will take a lot of force to articulate the business end
|  |  | Geometry | Tip angles allow access to areas in the middle ear | - flexible suckers
|  |  | Grip | Use suction | -combine electro-cautery with suction, insulated cautery devices for ear
|  | Graft Placement |  |  | Capstone - pusher attachment on Rosen
3D print ear drum and ear canal using CT scan to custom cut a graft - can use the 3D model to design and fabricate a stencil to be used in the OR graft will be cut like a cardboard box cut-out
|  | 3. NEEDS ANALYSIS - Survey to narrow down design criteria, requirements, constraints for instrument design | REB approval |  | surgical skills course October 18 - ask surgeons about their experience a few months after undergoing the course, this survey will include REB consent form - grind ear hair trimmers - have a meeting with doctors to chat about the challenges informally regarding technique, instruments and how to make uinstruments better -> find themes that generate quesstions and email these to doctors around the world | - survey method: go on RedCap (formal SickKids survey/questionaire method) and formulate and send out the questionaire, use delphi method to figure out the criteria (time consuming) - requires many rounds of survey and group converges to the 'right' answer - this will take a long time but will have time to do, well defined method, more likelyhood of publication, audience will accept this method - nominal group method: quicker way to make the decision - many surgeons meet and vote/rank solutions in one meeting - could use this to figure out what questions to ask | - Survey done by Imperial College (Nandi et al.) for endoscopic neurosurgery: 20 participants until saturation of responses 1. how experienced with endoscopic neurosurgery 2. what are major technical barriers? 3. what tech advances would improve safety and efficacy in the field - outlines how to send out the survey
|  | Reduce noise of suction pedal |  |  | -try to make it silent, so that it doesn't suck in just air - right now when it is disengaged, it is still sucking in air which is noisy | - search the suction pedals used online, Hough suction used right now - how does the suction pedal work? what is the plumbing?
|  | quantify the amount of force imparted by the business end |  |  | - quantify how much force is allowed in the ear canal, so tissue is not damaged - quantify how much force is required to perform the intended function - need to use this to figure out what material properties or geometry the tip has
Workshop - 2nd World Congress on Endoscopic Ear Surgery (April, 2017)
|  | REB approval |  |  | - one application for questionairre, time flow analysis and testing instruments on patients later (once they are developed) | during the next couple months
- do the online tutorial (see email, it is on the REB website) - http://www.sickkids.ca/Research/REB/Training/index.html
- through sickkids iportal can access the forms and fill out the online forms
- include separately: document outlining the introduction - method - results of the survey, the survey/questionairre, time flow analysis steps, budget and which grant is funding this work
|  | Ear hair trimmer |  |  | give these out as a present to the visiting international surgeons and can ask them if they are using them and if they are useful | - make some more (5-6), engraved with 'university of toronto'
- barber supply shop at dundas and bay - $28 buy a few hair trimmers 'groom-mate', or find cheaper ones - sterilizable, keep receipt
|  | workspace analysis |  | -determine the workspace that is available to use tools in - what are the obstacles? | - scan of 7 year old boy available through CIGITI - make into 3D model of ear canal, include the ear drum (may have to overlay) - start with feeding in/analyzing a very simple tool eg. One bend and then add more functionalities/mechanisms to the tool and analyze how they will be able to move in the worskpace '- need to constrain the movement of tool in the model | - obtain scan of the boy and make into 3D model '- familiarize with software at CIGITI computer
|  | General |  |  |  | - anatomy
- look at instrument catalogues
cleaning obstructed suction tool