## Meeting Notes
Date: | Meeting Notes: | Actions:
2015-12-10 | Meeting with Dr. James and Dr. Andrysek 1. Assessment of Current EES and its limitations - publishable a. Qualitative - Survery/Questionaire i. Surgeon’s opinion ii. Survey other endoscopic surgeons b. Systematic assessment - Process Sutdy i. Time / flow analysis in OR - what are rate limiting steps in tympanoplasty? - how does instrument selection contribute to this? | - Literature review of current instruments for EES - IWGEES - Questionaire for surgeons to ask about the limitations of EES - Register for course on Endoscopic Ear Surgery - http://www.torontocourse.iwgees.org/ - Book time in the OR with Dr. Andrysek to observe surgeries and conduct a process study - what is a Process Study?? - funding - OGS - apply for IBBME MASC
2. Review of current instruments a. Features that are good for endoscopic surgery b. Limitations of current instruments
3. Design & preparation of novel instruments a. Multi-purpose hand tools i. Suction ii. Electrocautery - by adding enamel tip coating iii. Cutting iv. Dissection - by adjusting tip shape to aid in dissection v. Graft manipulation b. Other i. Improved foot control of suction ii. Better 532nm filter glasses for laser iii. ? mirrors to use with endoscope iv. Angulation of KTP laser fibre v. ?!
4. Testing of novel instruments a. Models i. Virtual temporal bone construct from CT scan ii. 3D prints of different patients iii. cadaveric temporal bone lab b. Clinical i. SickKids ii. ? TGH iii. ? Vancouver, US, worldwide
5. Translation to surgical practice a. ? patent for IP b. industrial partnership

## Design
| Research Question | How can we improve the adoption of transcanal endoscopic ear surgery technique. In order to facilitate this, the research questions are: what are the limitations of TEES? What functions of tools can be developed to improve the rate of TEES adoption by ENT surgeons?
| Design Objectives | a) Needs analysis to understand the reasons why ENTs don't use TEES and what instrument functionalities are desired? B) Time flow study to measure the efficiency of the current tools in TEES. c) Workspace analysis to understand the design space inside the ear to optimize the geometry of the body and function of the tip of a new instrument in order to reach certain areas (e.g. antrum, sinus tympani). d) validate the new tools in 3D printed ear models and cadaver - need to make a physical model of the ear, measure how realistic the model is by measuring angular range the endoscope can move when insterted in ear canal and measure the length of time to successfully reach an area inside the anatomy compared to existing tools. |  |  | - for research: look at medical device conference papers and surgical tool manuals by companies (eg. Karl Storz catalogue, ASME conference proceedings, instrumentarium company) needs assessment -> anatomy, forces required, max forces, workspace analysis - surface area, volume, how many degrees of freedom/range of motion -> '- what do you really need each degree of freedom for? Ensure you have the optimal number of degrees of freedom
| Objective: | Criteria: | Description: | Plan/Ideas | Actions
IWGEES Conference--> |  |  | Step 1: REB Approval for Time Flow Analysis and Questionnaire - protocol, consent forms, data collection table, survey Step 2a: Send out survey, analyze responses, develop 2ary questionnaire, send out survey again, analyse reponses and publish | Study 1: a) Needs Analysis - participants = surgeons, new REB main application name: Needs Analysis and Time Flow Study to Assess EES b) Time flow study - participants = surgeons, patients with tympanoplasty and cholesteatoma. Study 2: Existing study for cholesteatoma (goal: to access CT scans of cholesteatoma patients) - this is to use their CT scans to make the virtual model to help design the geometry and size of instruments. REB application ammendment name: “Prospective study of predictive factors in paediatric cholesteatoma” , add consent to ask for CT scan use and record time of surgeries via data collection form | - survey: used RedCap and send out the questionaire, use 2-round delphi method to figure out the consensus of the questionaire (ie. which instrument functionalities are agreed upon) - publicly accepted method of conducting a survey study - quality function deployment - use matrices how well the design satisfies user's needs (look this up) - Jan has done this before, used in rehab engineering, can be used to design the questionaire and time flow study 'Survey development: 1. had informal discussions with Dr. James, Cushing, Papsin, Parkes, Marco, and participants of the course. Asked them about their feelings of TEES and what the technical limitations are, what technological improvements can be made. This helped me develop questions in the preliminary survey /Users/arushriswarup/Documents/GitHub/Graduate-School/REB. Which was circulated in the course. Then feedback helped develop a better survey which will be sent out to surgeons locally, members of the course, board members of IWGEES. This will develop the final survey which will be sent to otologists globally (approved by REB).
| B. Time Flow Study |  | Step 1: REB Approval (see above) Step 2b: Time surgeries and analyze differences in step times between surgeons and if they're using difference tools - see if instruments are used together and if we can combine functionalities, is there too much changing of instruments? - after you have new instruments, redo the time flow analysis to see if we have improved | - see Dr. Papsin and Dr. Cushing's surgeries as well - can see what the different stages of experience are - Dr. Pothier's surgeries are recorded so can time those - course and surgeries will give an idea of the challenges - goal: characterize the inefficiencies and time each step of the surgery and see how we can move things faster | - note which ears are hard to gain access of instruments
| REB approval |  |  | - one application for questionairre, time flow analysis and testing instruments on patients later (once they are developed) 1. Main Application: Needs Assessment -> part 1: survey part 2: time flow study 2. Amendment: Cholesteatoma study -> add that CT scans will be used for research purposes to make 3D printed models 3. Main Application: Validation testing of new tools -> requires REB and regulatory (RQRM) ask Ryan Singh more about it when the tools are developed almost fully | - do the online tutorial (see email, it is on the REB website) - http://www.sickkids.ca/Research/REB/Training/index.html Caused us to develop a very detailed protocol, Including the survey, data collection form for the time flow study, how to collect the de-identified CT scans.
Hamlyn Symposium--> | C. Virtual Model | Virtual Model | Make a platform to integrate 3D model of ear (by using CT scans) and instruments to test instrument functionality '-determine the workspace that is available to use tools in - what are the obstacles? | - scan of 7 year old boy available through CIGITI -> make into STL using mimics, (model can not pickup the ear drum) - 3D print using powder printer -> show Dr. James to ensure the print is accurate/if thresholds should be modified/edited - virtual model: Magics -> added endoscope + tool -> ask Dr. James to highlight certain areas that need to be accessed (e.g. sinus tympani, antrum) -> play around with splines to find optimal curvature to reach specific areas - start with rosen needle, analyze how tools will be able to move in the worskpace - need to constrain the movement of tool in the model - orientation of the tip -> electromagnetic sensor (NDI) on the tool tip + 3D model with a block (for registration of the tool with sensor in order to provide a reference for the map) + Dr. James -> map the angular orientation of the tip to determine the angular ranges that the tip needs to go (e.g. +/- 30 deg? 60deg? 90deg?) - instead: use the viewing angles of the endoscope to determine the max angle the tool needs to articulate to as this is the visual boundary that the tools need to stay in during surgery so the surgeon can always see where the tool is and what it is doing. -> this will dictate the design of the tip. if wrist - will dictate the optimal curvature, arc length required and how many notches/size of the notches; concentric tubes - curvature of the tube and arc length | - crop 3D model so it just has the triangular part after the ear canal - add endoscope - set up experiment where electromagnetic electrode is on the end of a tool and can be tracked inside a 3D model
|  | Size |  | -Using current CT scans of 100s of patients, make 3D computer models of the ear - Want to make 3D printed models too, to physically test instruments | - print some anatomy at the lab to practice - need CT scan from Dr. James
|  | Endoscope | Include endoscope: 30 deg, 45 deg | - Dr. James to note which ears are difficult to access and make models of those to test instrument accessibility/functionality - make note during observing surgeries
|  | Manipulation | Ear canal position stays fixed, instrument and endoscope are able to move | - determine which types of ear models to print based on needs analysis
|  | Collision Visualization | If instrument touches the ear canal, that region gets highlighted | order tools from Panetti -> bend them in the appropriate angles as a result of the workspace study
|  | Geometry | suckers that are bent by Brandon Isaacson to be used during surgery | Brandon Isaacson – send a picture of the curved suckers that he uses, and what he used it for and how well they were able to reach
| Teaching workshop in October 18-19 prep |  | - goal: learning | This was a surgical skills course held at SickKids organized by the PI designed to teach practicing otologists about TEES. This course served as a learning experience as I attended the lectures given by experienced TEES otologists describing how and why to use TEES, what specific techniques are used and how to implement TEES in their daily practice. The next day of the course was extermely valuable as I informally discussed the challenges faced by the surgeons taking the course while they practiced TEES in cadavers. They also filled out the initial survey (/Users/arushriswarup/Documents/GitHub/Graduate-School/REB). This helped me form the next version of the survey. '- show up: lecture on anatomy and the surgery/procedure - live surgical demonstration - role of endoscopes for diff't surgeries 19th: MS skills room - surgeons will be trying the surgeries, and I can walk around and what can be improved upon - how do we use this to further research - get informal feedback -send the surgeons a note that we will be sending a questionaire later | - ear trimmers - ordered - send out new version of survey to course members to ensure it's a good enough survey
| General Tool Requirements | Size | fits in ear canal with endoscope
|  | Blood management | Use suction or electro-cautery | -combine electro-cautery (bipolar) with suction, insulated cautery devices for ear
|  | Graft Placement |  | Capstone - pusher attachment on Rosen
3D print ear drum and ear canal using CT scan to custom cut a graft - can use the 3D model to design and fabricate a stencil to be used in the OR graft will be cut like a cardboard box cut-out
|  | Reduce noise of suction pedal |  | -try to make it silent, so that it doesn't suck in just air - right now when it is disengaged, it is still sucking in air which is noisy | - search the suction pedals used online, Hough suction used right now - how does the suction pedal work? what is the plumbing? - using stopcocks and other tubing supplies, make a prototype to dampen the noise the air makes when rushing into the out tube when suction is released (see notebook for diagram)
|  | quantify the amount of force imparted by the business end | - how much force is required at the tip? - as per course feedback, want a stiffer suction rather than flexible/bendy - how much force is required to actuate the tip bending? - thumb wheel actuation - ensure that enough friction to maintain current tip configuration but also not too high as to make it difficult to actuate | - quantify how much force is allowed in the ear canal, so tissue is not damaged - quantify how much force is required to perform the intended function - need to use this to figure out what material properties or geometry the tip has
|  | Ear hair trimmer |  | give these out as a present to the visiting international surgeons and can ask them if they are using them and if they are useful | - make some more (5-6), engraved with 'university of toronto' - record time and number of changes to scissors - shave down the edges
materials science and force required to choose the size of the tubing if using concentric tubes
isolate ear drum from CT scan
cleaning obstructed suction tool
how much to bend laser before fibres break
weld thomisin end effector onto a 19Fr suction tube, bend 19Fr sucker into same curvature as rosen and file it to sharpen the end and either put suction hole on the lateral or medial end.
|  |  | suction tube that can slide down the endoscope | - like the rosen pusher but removable and can be locked onto the endoscope and at the handle, finger can be used to slide sucker down. Problem - may not be able to see the sucker while being slid down and could potentially cause a problem?
forceps in the shape of Rosen needle
| Committee |  | think about people who would be useful based on their experience/knowledge |  | - check about these requirements
mitacs
patent a modified instrument through sickkids
structure of thesis?
| SGS conference grant |  | apply in March for reimbursement - IWGEES, Hamlyn Symposium
| D. Validation model |  | Validation of model to test instruments | Validating bone: - measure the length of ear canal and other structures, however it doesn't matter if the ear canal is larger or smaller than the patient because the sizes vary quite a bit, as long as the ear canal meaeurements are in a predetermined range (Transcanal endoscopic ear surgery for pediatric population with a narrow external auditory canal.) then the model is validated - Measure the lengths of a few structures in each CT scan and then collect them to make a more generic model Validating how much the endoscope can move in the ear canal – this is a function of the pinna, tragus and the amount of soft tissue - Measure the angle that we can manipulate the endoscope – in the OR, existing models and the CT-scan generated models, is there a significant difference in the angles between OR (real) and 3D printed (model) - Even though this model is not perfect, its more ethical to practice on the model rather than an anaesthetized patient during their surgery - we cannot model the cartilogenous part of the ear (in the pinna because we are not going to validate the material similarity between real and model of the cartilage) but the angle that the endoscope can mode about in the model vs. the child in the OR will be used to characterize this limitation, as well we cannot model the cartilogenous tissue because it can move about while the endoscope is inside the ear canal and we will not be modeling that on the model How many patients do we need and how do we select them? - Power of the experiment - Pick based on difficulty of surgery – prospectively from now on, make a note if there was difficulty reaching a certain place and by looking and the residual cholesteatoma (they might have difficult anatomy and we couldn’t reach there)
Technical Hurdles:
| questionaire | - how to develop using RedCap - how to analyze using statistical approach (refer to papers)
| workspace analysis to determine the size of the instruments | - feeding CT scan into program that can determine curvature and length of tool required to reach specific targets (available in the lab) - need to define how many degrees of freedom (roll, pitch, yaw) we can have vs. how many we need (as determined by the analysis) - calculate the appropriate diameter of nitinol tubes based on required force and flexion
| fabrication of instruments | - milling and shaping small pieces of metal - nitinol can be preshaped using heat and a 'stencil' - how to optimize design of the handle for ergonomics - prototyping the mechanical mechanism to actuate the tool
| testing | - testing tool inside a 3D printed model - simulating semi-wet environment - simulating blood - hang an IV bag with red dyed water that is pressurized that will create blood flow - do we need to simulate soft tissues?
| IWGEES | - at least first round of survey results - some timed surgery data, including if the trimmed ear hair trimmer is faster than the scissors
foot pedal

## Tool Design Matrix
Tool Design Element | Design Requirements/Criteria being addressed | Ranking/ Importance | Time | Parameters | Tests/Resources Required
Tip (function) | grip maneuverability |  |  | - tip orientation - workspace analysis will determine what kind of tip is required to perform desired function - forceps, curette, needle, etc. - tip stiffness - tip size | - capture the workspace using electromagnetic sensors on the tip of Rosen needle to track position '- test stiffness - use force sensor, quantify force applied (?)
Body (shape) | reach |  |  | - shape of main body may include a curve or bend and need to calculate bend angle, radius of curvature and position along the shaft | - CT scan -> 3D computer model with endoscope and orientation space
Suction | blood management grip |  |  | - size = 19 gauge tube which is the smallest suction Dr. James uses without it getting clogged - stiffness - tube wall thickness | - test tip stiffness - relates to the Tip design
Tip flexibility | reach |  |  | - joint - slotted wrist or concentric tubes | - size of nitinol tubes - friction - stiffness of tip
Handle Design | ease of use |  |  | - need grip to be like a pen to actuate | - friction to retain shape once fixed, but not requiring too much force