Talk about these instruments as a ‘survey’/overview of what’s already on the market

Then talk about the instruments that Dr. James uses for TEES – Panetti, Karl Storz set

Daniele used the ultrasonic bone cutting (demonstration at the TEES course in October)

David Pothier uses the standard Karl Storz ear surgery kit (no suction)

Good overview of currently existing tools for TEES: “ Ins t rumen ta tion and Technologies in Endoscopic Ear Surgery”(1)

hair trimmer

Good bone removal:

Stryker parasonic aspirator – has irrigation and aspiration but very expensive -> initial cost 100 000 + 600 disposable tips

Neuro-endoscopy instruments from Karl Storz Catalogue: Cerebral Endoscopy for Neurocysticercosis – Jaime G. Torres Corzo, M.D.

- Instruments are fed through a trocar, which also feeds the endoscope and the trocar is held in a stand – so the surgery set up is different from TEES

- However, the end effectors and sizes of these tools are useful for TEES – however TEES has its own Karl Storz catalogue and that has a full suite of internationally acceptable instruments that are used for ear surgery

Endoscopic Sinus Surgery: http://www.medtronic.com/us-en/healthcare-professionals/therapies-procedures/ear-nose-throat/sinus-surgery.html

Bausch and Lomb ENT Set: http://www.bauschinstruments.com/pset/793/Functional-Sinus-Endoscopy-Instruments.aspx

Karl Storz Endoscopic Catalogue: https://www.karlstorz.com/ca/en/online-catalog.htm

Sklar Sinus Endoscopy Set: http://www.sklarcorp.com/instrument-sets/plastic-surgery/sinus-endoscopy-set.html

Curved Suction:

Medtronic Fusion ENT Navigation System: http://assets.medtronic.com/ent/flipbook-us/#p=44

I think this has pre-curved suction (but not bendable)

Todo:

Patent Search on bendable suction: