## Meeting Notes
Date: | Meeting Notes: | Actions:
2015-12-10 | Meeting with Dr. James and Dr. Andrysek 1. Assessment of Current EES and its limitations - publishable a. Qualitative - Survery/Questionaire i. Surgeon’s opinion ii. Survey other endoscopic surgeons b. Systematic assessment - Process Sutdy i. Time / flow analysis in OR - what are rate limiting steps in tympanoplasty? - how does instrument selection contribute to this? | - Literature review of current instruments for EES - IWGEES - Questionaire for surgeons to ask about the limitations of EES - Register for course on Endoscopic Ear Surgery - http://www.torontocourse.iwgees.org/ - Book time in the OR with Dr. Andrysek to observe surgeries and conduct a process study - what is a Process Study?? - funding - OGS - apply for IBBME MASC
2. Review of current instruments a. Features that are good for endoscopic surgery b. Limitations of current instruments
3. Design & preparation of novel instruments a. Multi-purpose hand tools i. Suction ii. Electrocautery - by adding enamel tip coating iii. Cutting iv. Dissection - by adjusting tip shape to aid in dissection v. Graft manipulation b. Other i. Improved foot control of suction ii. Better 532nm filter glasses for laser iii. ? mirrors to use with endoscope iv. Angulation of KTP laser fibre v. ?!
4. Testing of novel instruments a. Models i. Virtual temporal bone construct from CT scan ii. 3D prints of different patients iii. cadaveric temporal bone lab b. Clinical i. SickKids ii. ? TGH iii. ? Vancouver, US, worldwide
5. Translation to surgical practice a. ? patent for IP b. industrial partnership

## Design
Research Question | How to reduce time spent in the OR for EES? First, figure out why by conducting process study and asking the field about limitations. |  |  | to be discussed with Dr. James
Design Objectives | Make surgery easier for surgeons. Design tools to facilitate one-handed surgery.
Design Criteria | Size, grip, accessibility, ease of use, manufacturability, cost, geometry, functionality, sterilizability
- for research: look at medical device conference papers and surgical tool manuals by companies (eg. Karl Storz catalogue, ASME conference proceedings, instrumentarium company)
needs assessment -> anatomy, forces required, max forces, workspace analysis - surface area, volume, how many degrees of freedom/range of motion ->
- what do you really need each degree of freedom for? Ensure you have the optimal number of degrees of freedom |  | Goal: | Criteria: | Description: | Plan/Ideas | Actions | Technical Hurdles:
|  | Make a platform to integrate 3D model of ear (by using CT scans) and instruments to test instrument functionality | Size | Ensure that the instrument fits inside ear canal along with endocscope | -Using current CT scans of 100s of patients, make 3D computer models of the ear - Want to make 3D printed models too, to physically test instruments | - print some anatomy at the lab to practice - need CT scan from Dr. James | questionaire | - how to develop using RedCap - how to analyze using statistical approach (refer to papers)
|  |  | Endoscope | Include endoscope: 30 deg, 45 deg | - Dr. James to note which ears are difficult to access and make models of those to test instrument accessibility/functionality - make note during observing surgeries |  | workspace analysis to determine the size of the instruments | - feeding CT scan into program that can determine curvature and length of tool required to reach specific targets (available in the lab) - need to define how many degrees of freedom (roll, pitch, yaw) we can have vs. how many we need (as determined by the analysis) - calculate the appropriate diameter of nitinol tubes based on required force and flexion
|  |  | Manipulation | Ear canal position stays fixed, instrument and endoscope are able to move | - determine which types of ear models to print based on needs analysis |  | fabrication of instruments | - milling and shaping small pieces of metal - nitinol can be preshaped using heat and a 'stencil' - how to optimize design of the handle for ergonomics - prototyping the mechanical mechanism to actuate the tool
|  |  | Collision Visualization | If instrument touches the ear canal, that region gets highlighted |  |  | testing | - testing tool inside a 3D printed model - simulating semi-wet environment - simulating blood - hang an IV bag with red dyed water that is pressurized that will create blood flow - do we need to simulate soft tissues?
|  | Teaching workshop in October 18-19 prep |  | - goal: learning | - show up: lecture on anatomy and the surgery/procedure - live surgical demonstration - role of endoscopes for diff't surgeries 19th: MS skills room - surgeons will be trying the surgeries, and I can walk around and what can be improved upon - how do we use this to further research - get informal feedback -send the surgeons a note that we will be sending a questionaire later | - ear trimmers - ordered -
|  | research - viewing surgeries |  | - see Dr. Papsin and Dr. Cushing's surgeries as well - can see what the different stages of experience are - course and surgeries will give an idea of the challenges - goal: characterize the inefficiencies and time each step of the surgery and see how we can move things faster | - time flow analysis - see if instruments are used together and if we can combine functionalities, is there too much changing of instruments? - after you have new instruments, redo the time flow analysis to see if we have improved | - remind Dr. James to share his surgery calendar when I get my badge/login - lliterature search for time flow - note which ears are hard to gain access of instruments
|  | General Instrument Design for One-Handed Endoscopic Ear Surgery |  |  | use notched tubes to increase articulation/accessibility of working end
|  |  | Size | fits in ear canal with endoscope | - use a trocar that can stabilize the tool so you can use the wrist to articulate instead of thumb '-> thumb will take a lot of force to articulate the business end
|  |  | Geometry | Tip angles allow access to areas in the middle ear | - flexible suckers
|  |  | Grip | Use suction | -combine electro-cautery with suction, insulated cautery devices for ear
|  | Graft Placement |  |  | Capstone - pusher attachment on Rosen
3D print ear drum and ear canal using CT scan to custom cut a graft - can use the 3D model to design and fabricate a stencil to be used in the OR graft will be cut like a cardboard box cut-out
|  | 3. NEEDS ANALYSIS - Survey to narrow down design criteria, requirements, constraints for instrument design | REB approval | time flow and questionaire | surgical skills course October 18 - ask surgeons about their experience a few months after undergoing the course, this survey will include REB consent form - grind ear hair trimmers - have a meeting with doctors to chat about the challenges informally regarding technique, instruments and how to make uinstruments better -> find themes that generate quesstions and email these to doctors around the world | - survey method: go on RedCap (formal SickKids survey/questionaire method) and formulate and send out the questionaire, use delphi method to figure out the criteria (time consuming) - requires many rounds of survey and group converges to the 'right' answer - this will take a long time but will have time to do, well defined method, more likelyhood of publication, audience will accept this method - nominal group method: quicker way to make the decision - many surgeons meet and vote/rank solutions in one meeting - could use this to figure out what questions to ask - quality function deployment - use matrices how well the design satisfies user's needs (look this up) - Jan has done this before, used in rehab engineering, can be used to design the questionaire and time flow study - 6 months | - Survey done by Imperial College (Nandi et al.) for endoscopic neurosurgery: 20 participants until saturation of responses 1. how experienced with endoscopic neurosurgery 2. what are major technical barriers? 3. what tech advances would improve safety and efficacy in the field - outlines how to send out the survey
|  | Reduce noise of suction pedal |  |  | -try to make it silent, so that it doesn't suck in just air - right now when it is disengaged, it is still sucking in air which is noisy | - search the suction pedals used online, Hough suction used right now - how does the suction pedal work? what is the plumbing?
|  | quantify the amount of force imparted by the business end |  |  | - quantify how much force is allowed in the ear canal, so tissue is not damaged - quantify how much force is required to perform the intended function - need to use this to figure out what material properties or geometry the tip has
Workshop - 2nd World Congress on Endoscopic Ear Surgery (April, 2017)
|  | REB approval |  |  | - one application for questionairre, time flow analysis and testing instruments on patients later (once they are developed) | during the next couple months
- do the online tutorial (see email, it is on the REB website) - http://www.sickkids.ca/Research/REB/Training/index.html
- through sickkids iportal can access the forms and fill out the online forms
- include separately: document outlining the introduction - method - results of the survey, the survey/questionairre, time flow analysis steps, budget and which grant is funding this work
|  | Ear hair trimmer |  |  | give these out as a present to the visiting international surgeons and can ask them if they are using them and if they are useful | - make some more (5-6), engraved with 'university of toronto'
- barber supply shop at dundas and bay - $28 buy a few hair trimmers 'groom-mate', or find cheaper ones - sterilizable, keep receipt
- record time and number of changes to scissors
|  | workspace analysis |  | -determine the workspace that is available to use tools in - what are the obstacles? | - scan of 7 year old boy available through CIGITI - make into 3D model of ear canal, include the ear drum (may have to overlay) - start with feeding in/analyzing a very simple tool eg. One bend and then add more functionalities/mechanisms to the tool and analyze how they will be able to move in the worskpace '- need to constrain the movement of tool in the model | - obtain scan of the boy and make into 3D model '- familiarize with software at CIGITI computer
|  | General |  |  |  | - anatomy
- look at instrument catalogues
cleaning obstructed suction tool
|  | validation of instruments |  | in OR and in 3D printed model
|  | choosing committee |  | think about people who would be useful based on their experience/knowledge |  | - check about these requirements
materials science and force required to choose the size of the tubing if using concentric tubes
mitacs
patent a modified instrument through sickkids
structure of thesis?
|  | isolate ear drum from CT scan |  | print a model of the whole ear canal, scaled up 5X |  | - need CT scan - can 3D model be used for a class?
how much to bend laser before fibres break
weld thomisin end effector onto a 19Fr suction tube, bend 19Fr sucker into same curvature as rosen and file it to sharpen the end and either put suction hole on the lateral or medial end.
|  | suction tube that can slide down the endoscope |  | - like the rosen pusher but removable and can be locked onto the endoscope and at the handle, finger can be used to slide sucker down. Problem - may not be able to see the sucker while being slid down and could potentially cause a problem?
- open CT scan and ensure can't see a name on it
- look up delphi method use (library and papers) and use of delphi method to analyse survey results
reb - survey and time flow because we are reporting the surgeon's responses in research
rhino for developing the shape of the tool to help define unusual geometries

## Sheet1
Tool Design Element | Design Requirements/Criteria being addressed | Ranking/ Importance | Time | Parameters | Tests/Resources Required
Tip (function) | grip maneuverability |  |  | - tip orientation - workspace analysis will determine what kind of tip is required to perform desired function - forceps, curette, needle, etc. - tip stiffness - tip size | - capture the workspace using electromagnetic sensors on the tip of Rosen needle to track position '- test stiffness - use force sensor, quantify force applied (?)
Body (shape) | reach |  |  | - shape of main body may include a curve or bend and need to calculate bend angle, radius of curvature and position along the shaft | - CT scan -> 3D computer model with endoscope and orientation space
Suction | blood management grip |  |  | - size = 19 gauge tube which is the smallest suction Dr. James uses without it getting clogged - stiffness - tube wall thickness | - test tip stiffness - relates to the Tip design
Tip flexibility | reach |  |  | - joint - slotted wrist or concentric tubes | - size of nitinol tubes - friction - stiffness of tip
Handle Design | ease of use |  |  | - need grip to be like a pen to actuate | - friction to retain shape once fixed, but not requiring too much force